| DPS Name: HRDO_GEMS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Physical Security |  |  |  |  |
| No. | Questions | Yes/No/N/A | Response | Actual Observation |
| 1 | Do you monitor and limit access and activities to places where the process or system is undertaken? Check all present | Yes |  |  |
|  | a. Rooms (e.g., Server Rooms, Offices, Storage Rooms) | ☑ |  |  |
|  | b. Workstations (e.g., employee desks, shared spaces, open offices) | ☑ |  |  |
|  | c. Facilities (e.g., buildings, offices, warehouse, data centers) | ☑ |  |  |
|  | d. Physical file and media storage areas (e.g., file rooms, archives, server racks) | ☑ |  |  |
| 2 | Are duties, responsibilities, and schedules clearly defined to ensure only authorized individuals are present during data processing? | Yes |  |  |
| 3 | Are there procedures in place for the secure transfer, removal, disposal, and re-use of physical files and media? | Yes |  |  |
|  | - Storage media are disabled for endpoint | ☐ |  |  |
|  | - Control and log removal of equipment from premises | ☐ |  |  |
|  | - Printers have no printout with sensitive data | ☐ |  |  |
| 4 | Are there measures to prevent the destruction of physical files and equipment while protecting workspaces from disaster, power disturbances, and security threats? Check all present | Yes |  |  |
|  | a. Facility & Perimeter Security | ☑ |  |  |
|  | - Gate | ☐ |  |  |
|  | - Bollard | ☐ |  |  |
|  | - Fences | ☐ |  |  |
|  | - Guard House | ☐ |  |  |
|  | - Guards | ☑ |  |  |
|  | - Reception desk | ☐ |  |  |
|  | - Access points with CCTV | ☐ |  |  |
|  | - Meeting rooms (locked when unused) | ☐ |  |  |
|  | - Restriction of each function based on criticality (indicators: lighting and signages) | ☐ |  |  |
|  | - Location of equipment | ☐ |  |  |
|  | b. Access Control Monitoring | ☑ |  |  |
|  | - Door Access (keycard, biometrics, temporary badge) | ☐ |  |  |
|  | - Role-Based Physical Access/Security Clearance | ☐ |  |  |
|  | - Visitor Management System (e.g., logbook) | ☐ |  |  |
|  | - Supervise third party access | ☐ |  |  |
|  | - Access logs and audit trails | ☐ |  |  |
|  | - Installation of software on operational systems | ☐ |  |  |
|  | - Restriction in accessing external website | ☐ |  |  |
|  | - Access to sensitive areas | ☐ |  |  |
|  | - Motion detectors and alarms | ☐ |  |  |
|  | - Restriction on the following: - Publicly accessible network jack - Wireless access points, gateways, networking/communication hardware, and telecommunication line | ☐ |  |  |
|  | - Maintenance logs and service records | ☐ |  |  |
|  | - Clock Synchronization | ☐ |  |  |
|  | c. Secure Workstations & Office Spaces | ☑ |  |  |
|  | - Device with key locks and privacy screens | ☑ |  |  |
|  | - Clean desk and clear screen | ☐ |  |  |
|  | - Reminder for eating, drinking and smoking to protect the asset | ☐ |  |  |
|  | - Raised Flooring | ☐ |  |  |
|  | - Power and data cables | ☐ |  |  |
|  | - Cable Management (e.g., segregation) | ☐ |  |  |
|  | d. Data Storage & Media Protection | ☑ |  |  |
|  | - Signages and Asset Tagging | ☐ |  |  |
|  | - Printer Authentication | ☐ |  |  |
|  | - Data classification of printed files | ☐ |  |  |
|  | - Secure storage for physical files and media | ☐ |  |  |
|  | - Data Leakage Prevention is installed in the endpoint device | ☐ |  |  |
|  | - Inventory tracking of storage devices | ☐ |  |  |
|  | - Regular Maintenance | ☐ |  |  |
|  | - Sanitize or destroy before disposal | ☐ |  |  |
|  | - Shredding and degaussing | ☐ |  |  |
|  | e. Environmental & Disaster Protection | ☑ |  |  |
|  | - Fire Detection and Suppression System | ☐ |  |  |
|  | - HVAC/Airconditioning/Ventilation | ☐ |  |  |
|  | - UPS | ☐ |  |  |
|  | - Generators | ☐ |  |  |
|  | - Temperature monitoring | ☐ |  |  |
|  | - Flood and earthquake protection measures | ☐ |  |  |
|  | f. Incident Response & Physical Security Awareness | ☑ |  |  |
|  | - Emergency evacuation plans | ☐ |  |  |
|  | - Physical security incident reporting | ☐ |  |  |
|  | - Employee awareness training | ☐ |  |  |

| Data Center |  |  |  |  |
| --- | --- | --- | --- | --- |
| Physical Security |  |  |  |  |
| No. | Questions | Yes/No/N/A | Response | Actual Observation |
| 1 | Do you monitor and limit the access and activities to places where the process or system is undertaken? Check all present | ☐ |  |  |
|  | a. Rooms (e.g., Server Rooms, Offices, Storage Rooms) | ☐ |  |  |
|  | b. Workstations (e.g., employee desks, shared spaces, open offices) | ☐ |  |  |
|  | c. Facilities (e.g., buildings, offices, warehouse, data centers) | ☐ |  |  |
|  | d. Physical file and media storage areas (e.g., file rooms, archives, server racks) | ☐ |  |  |
| 2 | Are duties, responsibilities, and schedules clearly defined to ensure only authorized individuals are present during data processing? | ☐ |  |  |
|  | a. Ask for the log book, check for 24/7 coverage or, check for scheduled operation. | ☐ |  |  |
|  | b. Are guards notified when a person is no longer allowed access to the facility? (look for communication trail) | ☐ |  |  |
| 3 | Are there procedures in place for the secure transfer, removal, disposal, and re-use of physical files and media? | ☐ |  |  |
| 4 | Are there measures to prevent the destruction of physical files and equipment while protecting workspaces from disaster, power disturbances, and security threats? Check all present | ☐ |  |  |
|  | a. Facility & Perimeter Security | ☐ |  |  |
|  | - Are CCTV logs retained? How long? | ☐ |  |  |
|  | - Are employees assigned to Restricted Areas only allowed during official business hours? | ☐ |  |  |
|  | - Are employees prevented from working alone in restricted areas? | ☐ |  |  |
|  | - Is the data center perimeter secured with appropriate fencing, walls, or barriers? | ☐ |  |  |
|  | - Inspect the areas surrounding the site’s exterior to assess the topography of the location: | ☐ |  |  |
|  | a. Plants, trees and shrubs surrounding the site or near the facility do not provide points of concealment or facilitate unauthorized entry into the facility. | ☐ |  |  |
|  | b. No trees located closer than 10 feet from the fence or building. | ☐ |  |  |
|  | - Examine the site's surrounding areas if the landscape is designed in such a way that vehicle and pedestrian traffic is channeled through a single point of entry (to reduce the likelihood of site intrusion). | ☐ |  |  |
|  | - Inspect the site’s surroundings to verify that: | ☐ |  |  |
|  | a. Visible notices such as “No Trespassing” signs have been strategically posted around exterior perimeters to deter malicious persons from entering the site. | ☐ |  |  |
|  | b. There are no markings that identify the facility or its purpose, or that hint at what may be inside the facility. | ☐ |  |  |
|  | - Are access points to the data center premises controlled and monitored? | ☐ |  |  |
|  | - Are there any possible entrances aside from the main door (Emergency door)? | ☐ |  |  |
|  | - Door Size not less than 1m wide and 2.13m high or, and 1m wide and 2.29m high? Security Office: - Solid Core Door - 16mm plywood lined walls | ☐ |  |  |
|  | - Door and window sensor | ☐ |  |  |
|  | - Glass-break sensor | ☐ |  |  |
|  | - Exterior lighting | ☐ |  |  |
|  | - Vehicle barrier | ☐ |  |  |
|  | - Bollard | ☐ |  |  |
|  | - Sally port | ☐ |  |  |
|  | - Security guard services | ☐ |  |  |
|  | - Reception desk | ☐ |  |  |
|  | - Fencing | ☐ |  |  |
|  | - Crash gate | ☐ |  |  |
|  | - Gatehouse | ☐ |  |  |
|  | - Mantrap | ☐ |  |  |
|  | - Self-closing door | ☐ |  |  |
|  | - Metal detector | ☐ |  |  |
|  | - Turnstile | ☐ |  |  |
|  | - Weapon and explosive screening | ☐ |  |  |
|  | - True wall and true ceiling | ☐ |  |  |
|  | - Locked cage | ☐ |  |  |
|  | - CCTV system | ☐ |  |  |
|  | - Intelligent video surveillance | ☐ |  |  |
|  | b. Access Control Monitoring | ☐ |  |  |
|  | - Are access control mechanisms deployed at entry points to the data center building? | ☐ |  |  |
|  | a. Card-key devices | ☐ |  |  |
|  | b. Biometric devices | ☐ |  |  |
|  | c. Key lock | ☐ |  |  |
|  | - Is access restricted to authorized personnel only, with visitors required to sign in and be escorted while on-premises? | ☐ |  |  |
|  | - Are there security kiosks for receiving and accomodating visitors and deliveries? Check the control measures (e.g., receptionist, security guard or electronic reader) implemented for validating individuals entering controlled/restricted areas of the facility. | ☐ |  |  |
|  | - Does the kiosk have access to the access badge database? | ☐ |  |  |
|  | - When was the last delivery made by vendor(s)? | ☐ |  |  |
|  | a. Vendor should provide a letter regarding list of personnel before delivery / visitation. | ☐ |  |  |
|  | b. Vendor support personnel should provide a letter regarding change of personnel. | ☐ |  |  |
|  | c. Are vendor personel restricted to areas where they are to render their service? | ☐ |  |  |
|  | - Are visitors to the Data Center logged,and supervised? | ☐ |  |  |
|  | - Are visitor's issued ID badges? | ☐ |  |  |
|  | - Was the visitor badge collected before departure? | ☐ |  |  |
|  | - Badges are clearly visibly worn by visitors and staff? | ☐ |  |  |
|  | - Are there any signages that indicate the location or the purpose of the computer rooms? | ☐ |  |  |
|  | - What IDs are considered acceptable ID's? (government, company, what is the reasoning for asking for either government or company) | ☐ |  |  |
|  | - Are date, name, purpose, time in, time out, person who gave permission to gain entry recorded in the visitor log sheet? | ☐ |  |  |
|  | - Access logs and audit trails | ☐ |  |  |
|  | - Motion sensor | ☐ |  |  |
|  | - Floor sensor | ☐ |  |  |
|  | - Intrusion alarm | ☐ |  |  |
|  | - Visitor pass | ☐ |  |  |
|  | - Badge | ☐ |  |  |
|  | - Smart card | ☐ |  |  |
|  | - Identification card | ☐ |  |  |
|  | - Property pass | ☐ |  |  |
|  | c. Secure Workstations & Office Spaces | ☐ |  |  |
|  | - Are screen locks and privacy screens properly configured to 10 minutes? | ☐ |  |  |
|  | - What do you use for cable management? Cable Planning Software? Cable Ties? Cable Trays? Raceways? Cable Sleeve and Tubing? Wire Clamps? | ☐ |  |  |
|  | - Are Telecommunications equipment racks/cabinets anchored at the base only? | ☐ |  |  |
|  | - Clean desk policy | ☐ |  |  |
|  | - Device locking | ☐ |  |  |
|  | - Cable lock | ☐ |  |  |
|  | - Locked cabinet | ☐ |  |  |
|  | d. Data Storage & Media Protection | ☐ |  |  |
|  | - Are backup tapes properly labeled, stored securely, and retained in accordance with the organization's data retention policy? | ☐ |  |  |
|  | - Are papers shredded within the data center or sent to document destruction? | ☐ |  |  |
|  | - Check if there are authorization mechanisms in place prior to removal of assets (hardware or software) in the premises. | ☐ |  |  |
|  | - Check for receipt, transmittal form, gate pass and other type of proof of asset movement. | ☐ |  |  |
|  | - Are Patch Panels, Outlets, and Cabling are labeled? | ☐ |  |  |
|  | - Are Patch Cords and Jumpers labeled on Both ends? | ☐ |  |  |
|  | - Secure storage for physical files and media | ☐ |  |  |
|  | - Degaussing | ☐ |  |  |
|  | - Inventory tracking of storage devices | ☐ |  |  |
|  | - Intelligent patching | ☐ |  |  |
|  | - Electronic article surveillance | ☐ |  |  |
|  | e. Environmental & Disaster Protection | ☐ |  |  |
|  | - Are there procedures in place for rapidly rearming fire suppression systems in the room? | ☐ |  |  |
|  | - Is the area beneath the raised floor cleaned at least once a year? | ☐ |  |  |
|  | - What are the thresholds for notification or alarms? (40% and 60% for humidity and is above 26C for 5 minutes) | ☐ |  |  |
|  | - Is the temperature kept at an acceptable 16C - 20C? | ☐ |  |  |
|  | - Is the relative humidity level between 45% and 55% | ☐ |  |  |
|  | - Is the datacenter equipped with a Static Electricity Meters? | ☐ |  |  |
|  | - To accommodate for rotation of the AC systems are the following routines observed: | ☐ |  |  |
|  | a. Shutdowns currently active AC unit | ☐ |  |  |
|  | b. Only one AC is operational at any given time | ☐ |  |  |
|  | c. Restarts the other redundant cold-standby AC | ☐ |  |  |
|  | - Determine whether the fire safeguards are: | ☐ |  |  |
|  | a. Visible and not obstructed by items placed in their path. | ☐ |  |  |
|  | b. Placed within close distance of the protected assets to enable early detection and control of a fire. | ☐ |  |  |
|  | c. FM-200 fire suppression system is certified and approved, with up-to-date inspection records. | ☐ |  |  |
|  | - When was the last testing/maintenance performed to ensure quality of Environmental safeguards in place? (best practice: quarterly unless documented in policy) | ☐ |  |  |
|  | - Inspect the service tags on a sample of the fire safeguards (e.g., fire extinguishers). Verify the last inspection or maintenance date. Determine whether the fire safeguards are inspected and maintained in accordance with the frequency prescribed in applicable policies, standards and regulations. | ☐ |  |  |
|  | - Is proximity to major airports greater than 1.6KM and less than 48KM? | ☐ |  |  |
|  | - Is proximity to coastal or navigable inland waterways greater than 91m? | ☐ |  |  |
|  | - Is it not within a 50-year flood hazard area? | ☐ |  |  |
|  | - Is proximity to Major Highway traffic arteries or Main Rail Lines more than 91m? | ☐ |  |  |
|  | - What is the construction type of the building according to IBC Construction Code? | ☐ |  |  |
|  | - Is the site within proximity of high profile and/or high risk installations (military offices, financial districts, embassies, critical infrastructure, known political or symbolic targets) | ☐ |  |  |
|  | - Is the data center placed far from potential sources of fire? (such as cafeterias, cables, caustic chemicals, trash storage, petroleum supplies, etc) | ☐ |  |  |
|  | - Is there a mechanism for shifting to an alternate power supply if the primary source is destroyed or unavailable? | ☐ |  |  |
|  | - Does the system allow for concurrent maintenance? Utility, Generator, UPS | ☐ |  |  |
|  | - What is the UPS Topology? Single or Parallel Modules Distributed Redundant / Block Redundant? | ☐ |  |  |
|  | - What are the methods or tools for battery health and performance monitoring? | ☐ |  |  |
|  | - How many power sources? Does the site have any onsite power production components? How many hours of fuel for power production components do we have? | ☐ |  |  |
|  | - Is there sufficient Power Supply to support simultaneous startup of all components? | ☐ |  |  |
|  | - Is there an onsite battery that can support the direct current for the duration to switch to power production components? | ☐ |  |  |
|  | - If access is through electrically-controlled systems, can they be operated on battery power during a power outage? | ☐ |  |  |
|  | - Is there standby battery power to operate electrically controlled doors during power failures? | ☐ |  |  |
|  | - Is there an emergency lighting system which automatically activates when the main lighting fails? | ☐ |  |  |
|  | - Redundancies in place for telco provider and other critical service providers in case of disruption. | ☐ |  |  |
|  | - Hazard maps | ☐ |  |  |
|  | - Smoke sensor | ☐ |  |  |
|  | - Heat sensor | ☐ |  |  |
|  | - Flame sensor | ☐ |  |  |
|  | - Vibration sensor | ☐ |  |  |
|  | - Water leak detector | ☐ |  |  |
|  | - Thermal sensor | ☐ |  |  |
|  | - Fire alarm | ☐ |  |  |
|  | - Smoke alarm | ☐ |  |  |
|  | - Audible siren or bell | ☐ |  |  |
|  | - Strobe light | ☐ |  |  |
|  | - Surge suppressors | ☐ |  |  |
|  | - Line conditioners | ☐ |  |  |
|  | - Voltage regulators | ☐ |  |  |
|  | - Uninterruptible power supplies (UPSs) | ☐ |  |  |
|  | - Power generators | ☐ |  |  |
|  | - Redundant controls | ☐ |  |  |
|  | - Fire extinguisher | ☐ |  |  |
|  | - Fireproof cabinet | ☐ |  |  |
|  | - Fire exits | ☐ |  |  |
|  | - Fire suppression and detection system | ☐ |  |  |
|  | - Fire hydrant | ☐ |  |  |
|  | - Fire hose reels/system | ☐ |  |  |
|  | - Firefighting equipment | ☐ |  |  |
|  | - Emergency door | ☐ |  |  |
|  | - Temperature Alarm | ☐ |  |  |
|  | - Temperature Log | ☐ |  |  |
|  | - Humidifier/Dehumidifier | ☐ |  |  |
|  | - Humidity Alarm | ☐ |  |  |
|  | - Humidity Log | ☐ |  |  |
|  | - Emergency Lighting | ☐ |  |  |
|  | - Emergency power-off switch | ☐ |  |  |
|  | - Duress alarm | ☐ |  |  |
|  | - Powerline Monitoring | ☐ |  |  |
|  | f. Incident Response & Physical Security Awareness | ☐ |  |  |
|  | - Examine markings of fire exits. Verify that markings are visible and can be easily located in the event of an emergency. | ☐ |  |  |
|  | - Can emergency crew reach the location immediately? Is there an SLA, contract or memorandum between the company and the local emergency unit? | ☐ |  |  |
|  | - Emergency evacuation plans | ☐ |  |  |
|  | - Physical security incident reporting | ☐ |  |  |
|  | - Employee awareness training | ☐ |  |  |